Thermostat User Guide

Segundo North – Alder, Thompson & Miller Halls

The Segundo North buildings are equipped with Johnson Controls thermostats.  These thermostats control the temperature in the room based on pre-set limits.  Residents can select comfortable heating/cooling temperatures within 3.5 degrees (on either side) of the standard set point by turning the dial towards heat (+) or cooling (-).

Troubleshooting:

Room is Too Hot

- Look at the dial – is it all the way to the cold side (-)?

If not, turn the dial.

- Are the windows open?

  - If outside temperatures are warmer than inside temperatures, close all windows to allow maximum efficiency.

  - If outside temperatures are cooler than inside temperatures, open windows to allow increased cooling.

Room is Too Cold

- Look at the dial – is it all the way to the heat side (+)?

If not, turn the dial.

- Are the windows open?

  - If outside temperatures are cooler than inside temperatures, close all windows to allow maximum efficiency.

  - If outside temperatures are warmer than inside temperatures, open windows to allow increased warming.

If the above actions do not resolve the problem, please submit a service request on-line (Academic Year Residents and/or Staff).  Contact your respective Area Service Desk if immediate response is required.